## DetentionReqts
NEWAYGO COUNTY DETENTION POND DESIGN CALCULATION SPREADSHEET
| Project Name: | [6 empty] | Proposed Percent Imperviousness: | 70% | (K)
| Project Location: | [6 empty] | Proposed Runoff "C" Value: | 0.69
[8 empty] | Maximum Allowable Outflow (CFS): | 0 | (G)
Cont. Drainage Area (Acres): |  |  |  | (L) |  |  |  | Storm Recurrence Interval (Yrs): | 25
A | B | C | D | E | F | G | H | I | J
|  | 25-Year | 25-Year | Proposed | Proposed | Maximum | Required | Required | Total
|  | Total | Rainfall | Runoff | Runoff | Allowable | Detention | Retention | Required
Duration | Duration | Rainfall | Intensity | Flowrate | Volume | Outflow | Storage | Storage | Storage
(Minutes) | (Hours) | (Inches) | (Inch/Hr) | (CFS) | (CFT) | (CFS) | (CFT) | (CFT) | (CFT)
5 | 0.083333 | 0.53 | 6.36 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0.16667 | 0.93 | 5.58 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0.25 | 1.2 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0.33333 | 1.35 | 4.05 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0.5 | 1.65 | 3.3 | 0 | 0 | 0 | 0 | 0 | 0
40 | 0.66667 | 1.8 | 2.7 | 0 | 0 | 0 | 0 | 0 | 0
50 | 0.83333 | 1.95 | 2.34 | 0 | 0 | 0 | 0 | 0 | 0
60 | 1 | 2.09 | 2.09 | 0 | 0 | 0 | 0 | 0 | 0
90 | 1.5 | 2.35 | 1.5667 | 0 | 0 | 0 | 0 | 0 | 0
120 | 2 | 2.58 | 1.29 | 0 | 0 | 0 | 0 | 0 | 0
180 | 3 | 2.85 | 0.95 | 0 | 0 | 0 | 0 | 0 | 0
360 | 6 | 3.34 | 0.55667 | 0 | 0 | 0 | 0 | 0 | 0
720 | 12 | 3.87 | 0.3225 | 0 | 0 | 0 | 0 | 0 | 0
1080 | 18 | 4.18 | 0.23222 | 0 | 0 | 0 | 0 | 0 | 0
1440 | 24 | 4.45 | 0.18542 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | Total Storage Detention and Retention Required Storage (CFT): | 0
RETENTION POND DESIGN CALCULATION
Retain the 100-Year 24-Hour Storm event from the Entire Contributing Area
(6.15 Inches of total Rainfall).
0 | CFT
A) Duration of the storm event in minutes.
B) Duration of the storm event in hours.
C) Total amount of rainfall during a 25-year recurrence storm event for the given duration in
Column A & B (ref.: midwestern climatological center rainfall Atlas-Bulletin 71).
D) Average rainfall intensity during the 25-year recurrence storm event. Calculated by dividing
Column C by Column B.
E) The unrestricted 25-year recurrence discharge flowrate from the proposed site under fully developed
conditions. Calculated by multiplying Intensity (D) and Drainage Area (L).
F) The unrestricted storm event for the given duration in Column A and B. Calculated by multiplying
the Proposed Runoff Flowrate (E) by the Storm Duration (A) and by 60 seconds/minute.
G) The maximum allowable discharge from the site is determined by multiplying the drainage area by
0.15 cfs per acre or if the proposed outlet is restrictive by determining the sites share of the existing
outlets capacity on a contributing area basis.
H) The required detention storage is determined by multiplying the differention flowrate
(Inflow (E) - Outflow (G), by the corresponding duration (A) and by 60 seconds/minute.
The calculated maximum release rate only occurs when the pond is full.
As the pond dewaters the actual release rate from the pond will decrease from the maximum allowed
release rate to 0.
Therefore, an average release rate equal to 50% of the maximum rate is used in calculating the
required storage volume.
The amount of storage required for various storm durations will vary based on rainfall intensity,
the size of the drainage area, and the allowable discharge. The maximum volume of storage for the
various storm durations will be the required detention storage volume. This volume of storage will
be determined above the required retention volume calculated in Column I.
I) The required retention storage is determined by multiplying the drainage area (L) by O.5 inches of rain.
J) Total required storage is the sum of Column H and I.
K) Proposed percent imperviousness. This assumption will be used to determine the proposed runoff
coefficient. Impervious surface will be assumed to have a value of 0.9 and pervious a value of 0.2.
L) Contributing Drainage to the proposed detention or retention system.
Calculation By:
Date:

## DischargeCalcs
NEWAYGO COUNTY DISCHARGE CALCULATION SPREADSHEET
Project Name:
Project Location:
Restrictors are required to regulate the discharge of storm water to the allowable discharge rate established
for the site. Restrictors are typically in the form of an orifice. The outlet pipe however should be checked as
a metering line to verify that its capacity is not restricting the discharge.
ORIFICE
The circular in-line restrictor is sized based on the orifice formula.
FORMULA
a = Qo/[ 0.62 (64.4(h))½ ]
a = area of orifice (sq. ft.)
Qo = Maximum Allowable Outflow (cfs)
h = head differential from center of orifice to hydraulic grade line of detention facility at
maximum capacity (ft).
CALCULATION
Qo = |  | cfs
h = |  | ft.
a = | #DIV/0! | sq. ft.
Orifice Dia. = | #DIV/0! | ft.
Orifice Dia. = | #DIV/0! | in.
METERING LINE
The metering line calculation is based on the manning's equation.
FORMULA
Qm = a(1.49/N) R2/3 S1/2
a = area of pipe (sq. ft)
N = Manning's roughness coefficient
R = hydraulic radius = area/wetted perimeter
S = hydraulic grade line slope (ft/ft)
CALCULATION
Pipe Dia. = |  | in.
Pipe Dia. = | 0 | ft.
a = | 0 | sq. ft.
N =
R = | #DIV/0!
S = |  | ft/ft.
Qm = | #DIV/0! | cfs
If Qm is less than Qo discharge is limited by outlet pipe and should be re-evaluated
If Qo is less than Qm discharge is limited by orifice
Calculation By:
Date: